|  | ......................... pcs. .............................. € .............................. € Power supply NET 320 GEZE power supply to supply various components with power For installation in flush-mounted box 62.5 mm deep Plastic housing, cast module Primary voltage 230 V AC, 50 Hz Current consumption 250 mA Secondary voltage 24 V DC (+/- 5%) Output current 750 mA, 18 W Enclosure rating: IP 54 Dimensions: 55.7x33 mm (dia. x D) Article number: 139707 |
| --- | --- |
|  | ......................... pcs. .............................. € .............................. € Installation, start-up and official approval of the system described with instruction and documentation handover. Article number: 135639 |
|  | ......................... pcs. .............................. € .............................. € Measurements for project in cooperation with the client for the door terminals to be supplied, specification of the required closing functions as well as selection and assignment of the position-related versions Per man-day……………….. Article number: 135639 |
|  | ......................... pcs. .............................. € .............................. € Installation, software training, start-up Per man-day……………. Article number: 135639 |
|  | ......................... pcs. .............................. € .............................. € Charge rates for skilled workers’ wages for any force-account works occurring, only on express instruction through the client Per hour………………….. Article number: 135639 |